## Water & Wastewater Rates
MOPANI DISTRICT MUNICIPALITY
CONTRACT RATES FOR TERM CONTRACTORS FOR WATER AND WASTEWATER MAINTENANCE & PROJECTS
PRICED BILL OF QUANTITIES
SCHEDULE 1: GENERAL
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
1.0 | SCHEDULE 1: GENERAL
1.1 | FIXED-CHARGE ITEMS
1.1.1 | Contractual Requirements
1.1.2 | First Establishment of Facilities on the Site at the Depot or Contractor's Main Camp for the Contract:
b) Facilities for Contractor
| a) Tools and equipment | Sum | 1
TOTAL CARRIED FORWARD
SCHEDULE 1: GENERAL
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| b) Plant | Sum | 1
1.1.3 | Other fixed charge obligations
| All other fixed charge and obligations, not more than 2.5% of the contract sum | Sum | 1
1.1.4 | Removal of contractor's site establishment on completion of contract or interim de-establishment (only on written instruction) | Sum | 1
| Additional establishment cost to the contractor when re-establishing (Only on written instruction), not more than 1.0% of the contract sum | Sum | 1
1.1.5 | Site movements as per clause PSA 16.3
a) To sites 10 km or less in distance for the following:
| i) As per instruction equal or less than R 500 000 in construction value (Excluding Schedule 1) | No. | 1
| ii) As per instruction > R 500 000 but ≤ R 1 000 000 in construction value (Excluding Schedule 1) | No. | 1
| iii) As per instruction > R 1 000 000 but ≤ R5 000 000 in construction value (Excluding Schedule 1) | No. | 1
| iv) As per instruction > R 5 000 000 in construction value (Excluding Schedule 1) | No. | 1
b) Extra over Item 1.1.5(a) for sites in excess of 10 km
| i) As per instruction equal or less than R 500 000 in construction value (Excluding Schedule 1) | km | 1
| ii) As per instruction > R 500 000 but ≤ R 1 000 000 in construction value (Excluding Schedule 1) | km | 1
| iii) As per instruction > R 1 000 000 but ≤ R 5 000 000 in construction value (Excluding Schedule 1) | km | 1
| iv) As per instruction > R 5 000 000 in construction value (Excluding Schedule 1) | km | 1
TOTAL CARRIED FORWARD
SCHEDULE 1: GENERAL
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
1.2 | TIME-RELATED ITEMS
TOTAL CARRIED FORWARD
SCHEDULE 1: GENERAL
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
1.3 | SUMS STATED PROVISIONALLY BY THE ENGINEER
1.3.1 | N/A
1.4 | PRIME COST ITEMS
1.4.1 | Artisan and Skills Training | P.Sum | 1 | N/A | N/A
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY
BROUGHT FORWARD
1.4.9 | Specialist Contractors | P.Sum | 1 | N/A | N/A
TOTAL CARRIED FORWARD TO SUMMARY
SCHEDULE 2: DAYWORKS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 2: DAYWORKS
2 | DAYWORKS
2.1 | LABOUR
| a) Contractor's Representative | /hour | 1
| c) Qualified artisan | /hour | 1
| d) Qualified Mechanic | /hour | 1
| e) Foreman, leader-hand (___ hour work day) | W/day | 1
| f) Semi-skilled labourer (___ hour work day) | W/day | 1
| g) Labourer (___ hour work day) | W/day | 1
2.2 | PLANTHIRE: WORK RATES ON SITE
2.2.1 | Tipper truck
| a) 5,5 m³ | /hour | 1
2.2.3 | LDV | /km | 1
2.2.4 | Tractor loader backhoe (TLB) ____ m³ bucket (specify type) ____________ | /hour | 1
2.2.5 | Excavator ____ m³ bucket (specify type) ____________ | /hour | 1
2.2.6 | Pedestrian roller
| a) BW 65 | /hour | 1
TOTAL CARRIED FORWARD
SCHEDULE 2: DAYWORKS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
2.2.7 | Concrete mixer (specify)
| a) (small, towable) | /hour | 1
2.2.8 | Wheelbarrow Haul
| a) 0 - 100m | 0.06m³ | 1
| b) 101 - 200m | 0.06m³ | 1
2.2.9 | 14 ton bucket Crane truck | /hour | 1
2.3 | MISCELLANEOUS
2.3.1 | Compressor with capacity of 125 cfm | /hour | 1
2.3.2 | Waterpump with 40 mm outlet (diesel driven) | /hour | 1
2.3.3 | Welding unit (300 Amp) | /hour | 1
2.3.4 | 1,5 kVA diesel-driven generator set | /hour | 1
2.4 | PLANTHIRE: TRANSPORT COST TO AND FROM SITE
(Distance shall be measured one way only. Tendered rates shall include for transport both to and from site)
2.4.1 | Low-bed truck (suitable for the largest piece of equipment above) | /km | 1
2.4.2 | Tipper truck
| a) 5,5 m³ | /km | 1
2.4.3 | LDV | /km | 1
2.4.4 | Excavator ____ m³ bucket (specify type) ____________ | /hour | 1
TOTAL CARRIED FORWARD
SCHEDULE 2: DAYWORKS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
2.4.5 | Concrete mixer
| a) Small (towable) | /km | 1
2.4.6 | Other (specify) | /km | 1
2.4.7 | 14 ton bucket Crane truck | /hour | 1
2.5 | LABOUR BASED
| a) Pick | /day | 1
| b) Shovel | /day | 1
| c) Bucket (± 20 l) | /day | 1
| d) Wheelbarrow | /day | 1
2.6 | INDUSTRY STANDARD SKILLS TRAINING
In-service industry standard skills training of local residents employed through the labour desk. Rates tendered should include for full compensation for the Contractor's time, subsistence and travelling, overhead charges and profits, as well as for all training materials, consumables, tools and equipment that may be required for such skills training.
The Contractor will be paid for those hours during which properly supervised skills training actually takes place, on the instruction of the Engineer.
| a) Training of people on basic maintenance and operation | /hour | 1
2.7 | EMERGENCY MAINTENANCE INSPECTIONS
(Distance shall be measured one way only per instruction. Tendered rates shall include for distance both to and from site)
2.7.1 | LDV | /km | 1
TOTAL CARRIED FORWARD TO SUMMARY
ITEM | DESCRIPTION | UNIT | QTY
SCHEDULE 3: PIPE WORK
3.1 | SITE CLEARANCE
3.1.1 | Clear 3m wide vegetation and trees of girth up to 1m | m | 1
3.1.2 | Remove trees over 1 m and up to 2 m girth | No. | 1
3.2 | EXCAVATION - "MECHANICAL"
3.2.1 | EXCAVATIONS BY MECHANICAL MEANS
Note: See different length categories
3.2.1.1 | Up to 1,5m in depth for the following:
| a.) Total pipe line length (as per instruction) less than 200m | m³ | 1
| b.) Total pipe line length (as per instruction) ≥ 200m but < 500m | m³ | 1
| c.) Total pipe line length (as per instruction) ≥ 500m but < 2000m | m³ | 1
| d.) Total pipe line length (as per instruction) ≥ 2000m | m³ | 1
3.2.1.2 | Extra-over item 3.2.1.1 incl. for excavation (provisional) in :
| a) Intermediate material | m³ | 1
| b) Hard rock material | m³ | 1
3.2.1.3 | Extra over Item 3.2.1.1
| a) Backfill and compact by means of labour intensive construction methods in layers of 200mm compacted to 90% mod AASHTO | m³ | 1
| b) Disposal of surplus material by means of labour intensive construction methods within 20m from the source of spoil utilising wheel barrows | m³ | 1
3.2.1.4 | Excavate unsuitable material from trench bottom and dispose thereof within the free haul distance (Provisional) | m³ | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY
BROUGHT FORWARD
3.2.2 | EXCAVATION ANCILLARIES - "MECHANICAL"
3.2.2.1 | Imported backfill materials from designated borrow pits (Only if approved by Engineer) | m³ | 1
3.2.2.2 | Opening up and closing down of designated borrow pit | m³ | 1
3.2.2.3 | Compaction in road reserves | m³ | 1
3.2.2.4 | Overhaul :
| a) Short haul | m³/km | 1
| b) Truck haul | m³/km | 1
3.2.3 | FINISHING - "MECHANICAL"
Reinstate road surfaces complete with:
| a) Gravel | m2 | 1
| b) 30mm premix | m2 | 1
BEDDING (PIPES)
3.2.4 | PROVISION OF BEDDING "MECHANICAL"
3.2.4.1 | Provision of bedding material from trench excavations
| a) Selected granular material | m³ | 1
| b) Selected fill material | m³ | 1
3.2.4.2 | Provision of bedding material by importation from other necessary excavations (free haul within the village boundaries)
| a) Selected granular material | m³ | 1
| b) Selected fill material | m³ | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
3.2.4.3 | Provision of bedding material by importation from borrow pits (freehaul within the village boundaries)
| a) Selected granular material | m³ | 1
| b) Selected fill material | m³ | 1
3.2.4.4 | Concrete bedding | m³ | 1
3.2.4.5 | Encasing of pipes in Class 19/20 concrete | m³ | 1
3.2.5.6 | Overhaul of material for bedding cradle and selected fill blanket | m³/km | 1
3.3 | EXCAVATION - "LABOUR BASED"
3.3.1 | Excavate in all materials for trenches for pipes with a diameter between 20 mm and 200 mm, backfill compact and dispose of surplus/unsuitable materials:
3.3.1.1 | Up to 1,5m in depth
3.3.1.2 | Extra-over item 3.3.1.1 incl. for excavation (provisional) in :
a) Soft excavation Class 2
| b) Soft excavation Class 3 | m³ | 1
| c) Intermediate material | m³ | 1
| d) Hard rock material | m³ | 1
3.3.1.3 | Excavate unsuitable material from trench bottom and dispose thereof | m³ | 1
3.3.2 | EXCAVATION ANCILLARIES - "LABOUR BASED"
3.3.2.1 | Imported backfill materials from designated borrow pits (Only if approved by Engineer) | m³ | 1
3.3.2.2 | Opening up and closing down of designated borrow pit | No. | 1
3.3.2.3 | Compaction in road reserves | m³ | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
3.3.2.4 | Overhaul :
a) Wheel barrow haul.
| i) 0 - 100m | 0.06m³
| ii) 101 - 200m | 0.06m³
3.3.3 | FINISHING - "LABOUR BASED"
Reinstate road surfaces complete with:
| a) Gravel | m²
| b) 30mm premix | m²
BEDDING (PIPES)
3.3.4 | PROVISION OF BEDDING "LABOUR BASED"
3.3.4.1 | Available from trench within excavation (Subclause 3.3.1)
| a) Selected granular material | m³
| b) Selected fill material | m³
Import from borrow pit within a distance of 0.2km (Only with written consent of Engineer) Import from borrow pit with wheelbarrow
3.3.4.2 | a) Selected granular material
| i) 0 - 100m | 0.06m³
| ii) 101 - 200m | 0.06m³
3.3.4.3 | b) Selected fill material
| i) 0 - 100m | 0.06m³
| ii) 101 - 200m | 0.06m³
3.3.4.4 | Concrete bedding | m³
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
3.3.4.5 | Encasing of pipes in Class 19/20 concrete | m³ | 1
3.3.4.6 | Overhaul of material for bedding cradle and selected fill blanket | m³/km | 1
3.4 | PIPE WORK
Supply, lay, joint, bed, test and disinfect the following pipes complete with couplings to the relevant SABS standards including short lengths
3.4.1 | uPVC pipes
| a) 400 Class 9 | m | 1
| b) 400 Class 6 | m | 1
| c) 355 Class 9 | m | 1
| d) 355 Class 6 | m | 1
| e) 315 Class 9 | m | 1
| f) 315 Class 6 | m | 1
| g) 250 Class 16 | m | 1
| h) 250 Class 12 | m | 1
| i) 250 Class 9 | m | 1
| j) 250 Class 6 | m | 1
| k) 200 Class 16 | m | 1
| l) 200 Class 12 | m | 1
| m) 200 Class 9 | m | 1
| n) 200 Class 6 | m | 1
| o) 160 Class 16 | m | 1
| p) 160 Class 12 | m | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| q) 160 Class 9 | m | 1
| r) 160 Class 6 | m | 1
| s) 110 Class 16 | m | 1
| t) 110 Class 12 | m | 1
| u) 110 Class 9 | m | 1
| v) 110 Class 6 | m | 1
| w) 90 Class 16 | m | 1
| x) 90 Class 12 | m | 1
| y) 90 Class 9 | m | 1
| z) 90 Class 6 | m | 1
| aa) 75 Class 16 | m | 1
| ab) 75 Class 12 | m | 1
| ac) 75 Class 9 | m | 1
| ad) 75 Class 6 | m | 1
| ae) 63 Class 16 | m | 1
| af) 63 Class 12 | m | 1
| ag) 63 Class 9 | m | 1
| ah) 63 Class 6 | m | 1
3.4.2 | HDPE pipes Type IV
| a) 63 mm class 4 | m | 1
| b) 63 mm class 6 | m | 1
| c) 63 mm class 10 | m | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| d) 50 mm class 4 | m | 1
| e) 50 mm class 6 | m | 1
| f) 50 mm class 10 | m | 1
| g) 40 mm class 6 | m | 1
| h) 40 mm class 10 | m | 1
| i) 32 mm class 6 | m | 1
| j) 32 mm class 10 | m | 1
| k) 25 mm class 10 | m | 1
| l) 20 mm class 10 | m | 1
3.4.3 | GMS pipes (medium duty)
| a) 15 mm Ø | m | 1
| b) 20 mm Ø | m | 1
| c) 25 mm Ø | m | 1
| d) 32 mm Ø | m | 1
| e) 40 mm Ø | m | 1
| f) 50 mm Ø | m | 1
| g) 80 mm Ø | m | 1
| h) 100 mm Ø | m | 1
| i) 150 mm Ø | m | 1
| j) 200 mm Ø | m | 1
| k) 250 mm Ø | m | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
3.5 | VALVES
3.5.1 | Brass or similar approved valve complete - cutting of pipes and couplings included.
| a) 25 mm | No. | 1
| b) 32 mm | No. | 1
| c) 40 mm | No. | 1
| d) 50 mm | No. | 1
3.5.2 | Line valve assemblies.
Extra over item 3.4 for supplying, installing, bedding and testing line valve assemblies, complete with manhole as per Engineering Drawings complete cutting of pipes and couplings included
| a) 63 mm | No. | 1
| b) 75 mm | No. | 1
| c) 90 mm | No. | 1
| d) 110 mm | No. | 1
| e) 160 mm | No. | 1
| f) 200 mm | No | 1
| g) 250 mm | No. | 1
| h) 315 mm | No. | 1
3.5.3 | Scour valve assemblies
Extra over item 3.4 for supplying, installing, bedding and testing scour valve assemblies as per Engineering Drawings complete (Including Manhole). Scour tee, cutting of pipes and couplings included.
| a) On 50mm and 63mm Ø main | No. | 1
| b) On 75 mm Ø main | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| c) On 90 mm Ø main | No. | 1
| d) On 110 mm Ø main | No. | 1
| e) On 160 mm Ø main | No. | 1
| f) On 200mm Ø main | No. | 1
| g) On 250mm Ø main | No. | 1
3.5.4 | Air valve assemblies
3.5.4.1 | Extra over item 3.4 for supplying, installing and testing air valve assemblies as per Engineering Drawings complete (Including Manhole, Airvalve measured elsewhere)
| a) On 50 mm and 64 mm Ø main | No. | 1
| b) On 75 mm Ø main | No. | 1
| c) On 90 mm Ø main | No. | 1
| d) On 110 mm Ø main | No. | 1
| e) On 160 mm Ø main | No. | 1
| f) On 200 mm Ø main | No. | 1
| g) On 250mm Ø main | No. | 1
| h)On 315mm Ø main | No. | 1
3.5.4.2 | Valve to be supplied and installed complete for the following:
| a) 25ND double orifice "Bermad" | No. | 1
| b) 50ND double orifice "Bermad" | No. | 1
| c) 25ND "Vent-O-Mat" | No. | 1
| d) 50ND "Vent-O-Mat" | No. | 1
| e) 80ND "Vent-O-Mat" | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
3.5.5 | Extra over item 3.4 for supplying, installing and testing Wafer type non-return valve assemblies as as per Engineering Drawings including cutting of pipes, fittings and valve complete, excluding chamber
| a) On 50 mm and 64 mm Ø main | No. | 1
| b) On 75 mm Ø main | No. | 1
| c) On 90 mm Ø main | No. | 1
| d) On 110 mm Ø main | No. | 1
| e) On 160 mm Ø main | No. | 1
| f) On 200 mm Ø main | No. | 1
| g) On 250 mm Ø main | No. | 1
| h) On 315 mm Ø main | No. | 1
3.5.6 | Watermeters
3.5.6.1 | Complete supply & installation of watermeters (Reducers excluded)
| a) 50 mm | No. | 1
| b) 65 mm | No. | 1
| c) 80 mm | No. | 1
| d) 100 mm | No. | 1
| e) 150 mm | No. | 1
| f) 200 mm | No. | 1
| g) 250 mm | No. | 1
| h) 315 mm | No. | 1
3.5.6.2 | Complete supply & installation of Stainers
| a) 50 mm | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| b) 65 mm | No. | 1
| c) 80 mm | No. | 1
| d) 100 mm | No. | 1
| e) 150 mm | No. | 1
| f) 200 mm | No. | 1
| g) 250 mm | No. | 1
| h) 315 mm | No. | 1
3.6 | DRAW-OFFS
3.6.1 | Complete supply, install and test single rudimentary domestic drawoff standard type as detailed in Drawings with:
| i) 2 Taps | No. | 1
| ii) 4 Taps | No. | 1
3.6.2 | Complete supply, install and test garden standpipe as detailed in Drawings: | No. | 1
3.6.3 | Complete supply, install and test standpipe unit with pre-paid meter unit as detailed in Drawings. (Pre-paid meter unit and box to be paid under Item 1.4.13) | No. | 1
3.7 | FITTINGS AND SPECIALS
Extra over item 3.4 for supplying, installing, bedding and testing in PVC mains the following fittings and specials complete. Cutting of pipes and couplings included
Fittings of PVC, cast iron or aluminium
3.7.1 | Bends 90°
| a) 315 Ø | No. | 1
| b) 250 Ø | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| c) 200 Ø | No. | 1
| d) 160 Ø | No. | 1
| e) 110 Ø | No. | 1
| f) 90 Ø | No. | 1
| g) 75 Ø | No. | 1
| h) 63 Ø | No. | 1
3.7.2 | Bends 45 °
| a) 315 Ø | No. | 1
| b) 250 Ø | No. | 1
| c) 200 Ø | No. | 1
| d) 160 Ø | No. | 1
| e) 110 Ø | No. | 1
| f) 90 Ø | No. | 1
| g) 75 Ø | No. | 1
| h) 63 Ø | No. | 1
3.7.3 | Bends 22°
| a) 315 Ø | No. | 1
| b) 250 Ø | No. | 1
| c) 200 Ø | No. | 1
| d) 160 Ø | No. | 1
| e) 110 Ø | No. | 1
| f) 90 Ø | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| g) 75 Ø | No. | 1
| h) 63 Ø | No. | 1
3.7.4 | Bends 11.25°
| a) 315 Ø | No. | 1
| b) 250 Ø | No. | 1
| c) 200 Ø | No. | 1
| d) 160 Ø | No. | 1
| e) 110 Ø | No. | 1
| f) 90 Ø | No. | 1
| g) 75 Ø | No. | 1
| h) 63 Ø | No. | 1
3.7.5 | Tees
| a) 63 x 63 mm | No. | 1
| b) 75 x 63 mm | No. | 1
| c) 75 x 75 mm | No. | 1
| d) 90 x 63 mm | No. | 1
| e) 90 x 75 mm | No. | 1
| f) 90 x 90 mm | No. | 1
| g) 110 x 75 mm | No. | 1
| h) 110 x 90 mm | No. | 1
| i) 110 x 110 mm | No. | 1
| j) 160 x 90 mm | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| k) 160 x 110 mm | No. | 1
| l) 160 x 160 mm | No. | 1
| m) 200 x 160 mm | No. | 1
| n) 200 x 200 mm | No. | 1
| o) 250 x 200 mm | No. | 1
| p) 315 x 250 mm | No. | 1
3.7.6 | Reducers
| a) 75 x 63 mm | No. | 1
| b) 90 x 63 mm | No. | 1
| c) 90 x 75 mm | No. | 1
| d) 110 x 75 mm | No. | 1
| e) 110 x 90 mm | No. | 1
| f) 160 x 90 mm | No. | 1
| g) 160 x 110 mm | No. | 1
| h) 200 x 110 mm | No. | 1
| i) 200 x 160 mm | No. | 1
| j) 250 x 160 mm | No. | 1
| k) 250 x 200 mm | No. | 1
| l) 315 x 250 mm | No. | 1
3.7.7 | End caps
| a) 63 mm Ø | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| b) 75 mm Ø | No. | 1
| c) 90 mm Ø | No. | 1
| d) 110 mm Ø | No. | 1
| e) 160 mm Ø | No. | 1
| f) 200 mm Ø | No. | 1
| g) 250 mm Ø | No. | 1
| h) 315 mm Ø | No. | 1
3.7.8 | Double Socket
| a) 75 mm Ø | No. | 1
| b) 90 mm Ø | No. | 1
| c) 110 mm Ø | No. | 1
| d) 160 mm Ø | No. | 1
3.7.9 | Repair Coupling
| a) 63 mm Ø | No. | 1
| b) 75 mm Ø | No. | 1
| c) 90 mm Ø | No. | 1
| d) 110 mm Ø | No. | 1
| e) 160 mm Ø | No. | 1
| f) 200 mm Ø | No. | 1
| g) 250 mm Ø | No. | 1
| h) 315 mm Ø | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
3.7.10 | Adaptor for steel (BSP) pipes
| a) 75 x 50 mm BSP | No. | 1
| b) 75 x 80 mm BSP | No. | 1
| c) 90 x 80 mm BSP | No. | 1
| d) 110 x 100 mm BSP | No. | 1
| e) 160 x 150 mm BSP | No. | 1
| f) 200 x 200 mm BSP | No. | 1
3.7.11 | Flanged adaptor
| a) 63 mm Ø | No. | 1
| b) 75 mm Ø | No. | 1
| c) 90 mm Ø | No. | 1
| d) 110 mm Ø | No. | 1
| e) 160 mm Ø | No. | 1
| f) 200 mm Ø | No. | 1
| g) 250 mm Ø | No. | 1
| h) 315 mm Ø | No. | 1
3.7.12 | Saddle drilled 32 BSP
| a) 63 mm Ø | No. | 1
| b) 75 mm Ø | No. | 1
| c) 90 mm Ø | No. | 1
| d) 110 mm Ø | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| e) 160 mm Ø | No. | 1
| f) 200 mm Ø | No. | 1
| g) 250 mm Ø | No. | 1
| h) 315 mm Ø | No. | 1
3.7.13 | Saddle tap drilled 25 BSP
| a) 63 mm Ø | No. | 1
| b) 75 mm Ø | No. | 1
| c) 90 mm Ø | No. | 1
| d) 110 mm Ø | No. | 1
| e) 160 mm Ø | No. | 1
| f) 200 mm Ø | No. | 1
| g) 250 mm Ø | No. | 1
| h) 315 mm Ø | No. | 1
3.8 | FITTINGS FOR THREADED STEEL, MALLEABLE STEEL/IRON PIPE SPECIALS AND FITTINGS
3.8.1 | Screwed flanges
| a) 50 ND | No. | 1
| b) 65 ND | No. | 1
| c) 80 ND | No. | 1
| d) 100 ND | No. | 1
| e) 125 ND | No. | 1
| f) 150 ND | No. | 1
| g) 200 ND | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
3.8.2 | Nipple
| a) 15 ND | No. | 1
| b) 20 ND | No. | 1
| c) 25 ND | No. | 1
| d) 32 ND | No. | 1
| e) 40 ND | No. | 1
| f) 50 ND | No. | 1
| g) 65 ND | No. | 1
| h) 80 ND | No. | 1
| i) 100 ND | No. | 1
| j) 125 ND | No. | 1
| k) 150 ND | No. | 1
| l) 200 ND | No. | 1
3.8.3 | Tee
| a) 15 x 15 ND | No. | 1
| b) 20 x 20 ND | No. | 1
| c) 25 x 25 ND | No. | 1
| d) 32 x 32 ND | No. | 1
| e) 40 x 40 ND | No. | 1
| f) 50 x 50 ND | No. | 1
| g) 65 x 65 ND | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| h) 80 x 80 ND | No. | 1
| i) 100 x 100 ND | No. | 1
| j) 125 x 125 ND | No. | 1
| k) 150 x 150 ND | No. | 1
| l) 20 x 15 ND | No. | 1
| m) 32 x 20 ND | No. | 1
| n) 32 x 25 ND | No. | 1
| o) 40 x 25 ND | No. | 1
| p) 40 x 20 ND | No. | 1
| q) 50 x 40 ND | No. | 1
| r) 50 x 32 ND | No. | 1
| s) 50 x 25 ND | No. | 1
| t) 50 x 20 ND | No. | 1
| u) 65 x 50 ND | No. | 1
| v) 80 x 50 ND | No. | 1
| w) 100 x 80 ND | No. | 1
| x) 125 x 100 ND | No. | 1
| y) 150 x 100 ND | No. | 1
3.8.4 | Socket Union
| a) 15 ND | No. | 1
| b) 20 ND | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| c) 25 ND | No. | 1
| d) 32 ND | No. | 1
| e) 40 ND | No. | 1
| f) 50 ND | No. | 1
| g) 65 ND | No. | 1
| h) 80 ND | No. | 1
| i) 100 ND | No. | 1
3.8.5 | Reducing Bush
| a) 20 x 15 ND | No. | 1
| b) 25 x 15 ND | No. | 1
| c) 25 x 20 ND | No. | 1
| d) 32 x 20 ND | No. | 1
| e) 32 x 25 ND | No. | 1
| f) 40 x 20 ND | No. | 1
| g) 40 x 25 ND | No. | 1
| h) 40 x 32 ND | No. | 1
| i) 50 x 20 ND | No. | 1
| j) 50 x 25 ND | No. | 1
| k) 50 x 32 ND | No. | 1
| l) 50 x 40 ND | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
3.8.6 | Bend
| a) 90° M/F: 15 Ø | No. | 1
| b) 90° M: 15 Ø | No. | 1
| c) 90° M/F: 20 Ø | No. | 1
| d) 90° M: 20 Ø | No. | 1
| e) 90° M/F: 25 Ø | No. | 1
| f) 90° M: 25 Ø | No. | 1
| g) 90° M/F: 32 Ø | No. | 1
| h) 90° M: 32 Ø | No. | 1
| i) 90° M/F: 40 Ø | No. | 1
| j) 90° M: 40 Ø | No. | 1
| k) 90° F: 50 Ø | No. | 1
| l) 90° F: 65 Ø | No. | 1
| m) 90° F: 75 Ø | No. | 1
| n) 90° F: 100 Ø | No. | 1
3.8.7 | Cross, Flanged
| a) 100 Ø | No. | 1
| b) 125 Ø | No. | 1
| c) 150 Ø | No. | 1
3.8.8 | Cross screwed
| a) 15 Ø | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| b) 20 Ø | No. | 1
| c) 25 Ø | No. | 1
| d) 32 Ø | No. | 1
| e) 40 Ø | No. | 1
| f) 50 Ø | No. | 1
| g) 75 Ø | No. | 1
| h) 100 Ø | No. | 1
3.8.9 | Sockets
| a) 25 ND | No. | 1
| b) 32 ND | No. | 1
| c) 40 ND | No. | 1
| d) 50 ND | No. | 1
| e) 75 ND | No. | 1
| f) 100 ND | No. | 1
3.9 | FITTINGS FOR HDPE PIPES
Plasson compression fittings to the relevant SABS specifications, or similar approved
3.9.1 | Elbow for :
| a) 20 mm Ø | No. | 1
| b) 25 mm Ø | No. | 1
| c) 32 mm Ø | No. | 1
| d) 40 mm Ø | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| e) 50 mm Ø | No. | 1
3.9.2 | Equal Tees
| a) 20 mm Ø | No. | 1
| b) 25 mm Ø | No. | 1
| c) 32 mm Ø | No. | 1
| d) 40 mm Ø | No. | 1
| e) 50 mm Ø | No. | 1
3.9.3 | Unequal tees
| a) 25 x 20 ND | No. | 1
| b) 32 x 25 ND | No. | 1
| c) 40 x 25 ND | No. | 1
| d) 40 x 32 ND | No. | 1
| e) 50 x 32 ND | No. | 1
| f) 50 x 40 ND | No. | 1
3.9.4 | Reducers
| a) 25 x 20 ND | No. | 1
| b) 32 x 25 ND | No. | 1
| c) 40 x 25 ND | No. | 1
| d) 40 x 32 ND | No. | 1
| e) 50 x 25 ND | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| f) 50 x 32 ND | No. | 1
| g) 50 x 40 ND | No. | 1
3.9.5 | Plugs
| a) 20 mm Ø | No. | 1
| b) 25 mm Ø | No. | 1
| c) 32 mm Ø | No. | 1
| d) 40 mm Ø | No. | 1
| e) 50 mm Ø | No. | 1
3.9.6 | HDPE/BSP adaptor
| a) 20 mm Ø | No. | 1
| b) 25 mm Ø | No. | 1
| c) 32 mm Ø | No. | 1
| d) 40 mm Ø | No. | 1
| e) 50 mm Ø | No. | 1
3.9.7 | Socket Adaptors
| a) 20 ND | No. | 1
| b) 25 ND | No. | 1
| c) 32 ND | No. | 1
| d) 40 ND | No. | 1
| e) 50 ND | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 3: PIPE WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
3.1 | SUNDRIES
3.10.1 | Encasing in Class 15/19 concrete | m³ | 1
3.10.2 | Position markers as per specification Drawings | No. | 1
3.10.3 | Thrust blocks as per typical details on specification Drawing including formwork
| a) Concrete Class 15/19 | m³ | 1
3.10.4 | Existing Plot Fences (Provisional)
| Taking down of existing fence, keep at a safe place and re-erect after construction activities. | m | 1
3.10.5 | Stone pitching including supply and placing of stone and gravel backing
| a) Grouted, minimum thickness of 300mm | m² | 1
| b) Ungrouted, minimum thickness of 300mm | m² | 1
3.11 | SERVICES
3.11.1 | Unknown Services (Provisional)
| Excavate by hand in soft material to expose such as electrical cables and GPO cables | m³ | 1
3.11.2 | Existing Services (Provisional)
Excavate in soft material to expose services (Depths up to 1,5 m)
| a) Alongside service | m | 1
| b) When intersect a service | No. | 1
3.12 | MANHOLES
| a) 750 mm Ø as per Drawings | No. | 1
| b) 1200 mm Ø as per Drawings | No. | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY
BROUGHT FORWARD
3.13 | ROAD CROSSINGS
a) Gravel Road crossings complete as per Drawings including the following sleeve pipes :
| i) 350 ND Concrete Class 100D | m | 1
| ii) 450 ND Concrete Class 100D | m | 1
| iii) 355 ND uPVC Class 12 | m | 1
b) Tar Road crossings complete as per Drawings including the following sleeve pipes (Refer to PSDB11) :
| i) 350 ND Concrete Class 100D | m | 1
| ii) 450 ND Concrete Class 100D | m | 1
TOTAL CARRIED FORWARD TO SUMMARY
ITEM | DESCRIPTION | UNIT | QTY
SCHEDULE 4: HANDPUMPS
4.1 | The complete supply & delivery of positive displacement type handpump (gearbox, handle, pedestal, element, check valve and non-return valve included)
4.1.1 | Manufacturer Mono (or similar approved)
| a) HP9M | No. | 1
| b) HP12L | No. | 1
4.1.2 | Medium Galvanised steelpipe columns complete with appurtenant fittings and 13 mm drive shaft for positive displacement type handpumps.
| a) 25 mm Ø column | m | 1
| b) 32 mm Ø column | m | 1
| c) 40 mm Ø column | m | 1
| d) 50 mm Ø column | m | 1
4.2 | INSTALLATION
4.2.1 | Complete installation and commissioning of aboveground equipment under items 4.1.1
| a) Positive Displacement type | No. | 1
4.2.2 | Complete installation and commissioning of underground equipment under items 4.1.1 for the additional depth of boreholes
| a) Positive Displacement type | m | 1
TOTAL CARRIED FORWARD TO SUMMARY
SCHEDULE 5: WINDMILLS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 5: WINDMILLS
5.1 | Preparation of boreholes for installation (Also applicable to Schedules 4 and 8)
See section PD6.1.1.This specification is applicable to windmill towers as well as tank stands. The above regulations (as per PD6.1.1) are not to be priced separately and must be inclusive in the rates tendered.
5.1.1 | Supply tools, dismantle and store securely at Contractor's camp the equipment on the existing boreholes prior to erection of new equipment
| a) Handpump assembly | No | 1
| b) Powerhead, engine/motor and shelter | No | 1
| c) Windmill | No | 1
5.1.2 | Supply tools, dismantle, remove, demolish and spoil
| a) Borehole caps | No | 1
| b) Foundations to existing pump equipment | No | 1
5.2 | Windmill erection
5.2.1 | Excavation in the following materials for tower posts and borehole foundation blocks :
| a) Soft material | m³ | 1
| b) Extra Over 5.2.1a) in intermediate material | m³ | 1
| c) Extra Over 5.2.1a) in hard material | m³ | 1
5.3 | Supply and deliver the following equipment (Particular specification PD6) - for Geared Windmills
5.3.1 | Manufacturer: Climax (or similar approved)
5.3.1.1 | With 9 m tower complete
| a) 3,0 m wheel (Model: ___________) | No | 1
TOTAL CARRIED FORWARD
SCHEDULE 5: WINDMILLS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| b) 3,7 m wheel (Model: ___________) | No | 1
| c) 4,3 m wheel (Model: ___________) | No | 1
5.3.2 | Brass Borehole Cylinders
| a) 50 mm ND, 300 mm stroke | No. | 1
| b) 50 mm ND, 450 mm stroke | No. | 1
| c) 65 mm ND, 300 mm stroke | No. | 1
| d) 65 mm ND, 450 mm stroke | No. | 1
| e) 76 mm ND, 300 mm stroke | No. | 1
| f) 76 mm ND, 450 mm stroke | No. | 1
5.3.3 | a) Galvanised solid mild steel pump rods 16mm Ø in 3 m lengths | m | 1
| b) Ditto but for 20 mm Ø in 3 m lengths | m | 1
5.3.4 | Borehole rising mains comprising medium SABS 62 galvanised mild steel piping in the following nominal sizes and lengths
a) 3 m Pipe lengths
| i) 40 Ø | m | 1
| ii) 50 Ø | m | 1
| iii) 65 Ø | m | 1
5.3.5 | Delivery tee and spill piece combination in the following nominal sizes:
| i) 40 Ø | set | 1
| ii) 50 Ø | set | 1
| iii) 65 Ø | set | 1
TOTAL CARRIED FORWARD
SCHEDULE 5: WINDMILLS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
5.3.6 | 40 mm Standpipe gland at existing windmill | No. | 1
5.3.7 | Forceheads with the following duty points.
| a) For a 65mm Cylinder a minimum head of 21m (Model: ___________) | No. | 1
| b) For a 65mm Cylinder a minimum head of 41m (Model: ___________) | No. | 1
5.3.8 | Base plates in the following nominal sizes:
| i) 40 mm Ø | set | 1
| ii) 50 mm Ø | set | 1
| iii) 65 mm Ø | set | 1
5.3.9 | Discharge pipework in the following nominal diameters:
| i) 40 mm Ø | unit | QTY
| ii) 50 mm Ø | unit | QTY
5.3.10 | Concrete base and footings Class 15/20 | m³ | 1
5.3.11 | Check valves
Brass type with swing valve (screwed internally)
| i) 40 mm Ø | No. | 1
| ii) 50 mm Ø | No. | 1
| iii) 65 mm Ø | No. | 1
5.3.12 | Footvalve and strainer (screwed internally)
| i) 40 mm Ø | No. | 1
| ii) 50 mm Ø | No. | 1
| iii) 65 mm Ø | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 5: WINDMILLS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
5.3.13 | Air chambers screwed externally and fitted to with a plug to drain the water buildup
| i) 40 mm Ø | No. | 1
| ii) 50 mm Ø | No. | 1
| iii) 65 mm Ø | No. | 1
5.3.14 | Galvanised woodrod to pumprod connection
| a) 38 mm x 12 mm connections with bolts and nuts | No. | 1
| b) 38 mm x 16 mm connections with bolts and nuts | No. | 1
5.4 | Erect and commission the following geared windmills, (all included as per particular specification PD6)
5.4.1 | For Manufacturer as indicated under Item 5.3
5.4.1.1 | With 9 m tower complete
| a) 3,0 m wheel (Model: ___________) | No. | 1
| b) 3,7 m wheel (Model: ___________) | No. | 1
| c) 4,3 m wheel (Model: ___________) | No. | 1
5.4.2 | Brass Borehole Cylinders
| a) 50 mm ND, 300 mm stroke | No. | 1
| b) 50 mm ND, 450 mm stroke | No. | 1
| c) 65 mm ND, 300 mm stroke | No. | 1
| d) 65 mm ND, 450 mm stroke | No. | 1
| e) 76 mm ND, 300 mm stroke | No. | 1
| f) 76 mm ND, 450 mm stroke | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 5: WINDMILLS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
5.4.3 | a) Galvanised solid mild steel pump rods 16mm Ø in 3 m lengths | No. | 1
| b) Ditto but for 20 mm Ø in 3 m lengths | No. | 1
5.4.4 | Borehole rising mains comprising medium SABS 62 galvanised mild steel piping in the following nominal sizes:
a) 3 m Pipe lengths
| i) 40 Ø | m | 1
| ii) 50 Ø | m | 1
| iii) 65 Ø | m | 1
5.4.5 | Delivery tee and spillpiece combination in the following nominal sizes :
| i) 40 Ø | set | 1
| ii) 50 Ø | set | 1
| iii) 65 Ø | set | 1
5.4.6 | Packing boxes assembly in the following nominal sizes:
| i) 40 mm Ø | set | 1
| ii) 50 mm Ø | set | 1
| iii) 65 mm Ø | set | 1
5.4.7 | 40 mm Standpipe gland at existing windmill | No. | 1
5.4.8 | Forcehead with the following duty point:
| a) For a 65mm Cylinder a minimum head of 21m (Model: __________) | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 5: WINDMILLS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| b) For a 65mm Cylinder a minimum of 41m (Model: _________________) | No. | 1
5.4.9 | Base plates in the following nominal sizes :
| i) 40 Ø | set | 1
| ii) 50 Ø | set | 1
| iii) 65 Ø | set | 1
5.4.10 | Discharge pipework in the following nominal diameters:
| i) 40 Ø | unit | 1
| ii) 50 Ø | unit | 1
5.4.11 | Concrete base and footings Class 15/20 | m³ | 1
5.4.12 | Check valves
Brass type with swing valve (screwed internally)
| i) 40 Ø | No | 1
| ii) 50 Ø | No | 1
| iii) 65 Ø | No | 1
5.4.13 | Footvalve and strainer (screwed internally)
Brass type:
| i) 40 mm Ø | No. | 1
| ii) 50 mm Ø | No. | 1
| iii) 65 mm Ø | No. | 1
5.4.14 | Air chambers screwed externally and fitted to with a plug to drain the water build up
| i) 40 mm Ø | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 5: WINDMILLS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| ii) 50 mm Ø | No. | 1
| iii) 65 mm Ø | No. | 1
5.4.15 | Galvanised woodrod to pumprod connection
| a) 38 mm x 12 mm connection with bolts and nuts | No. | 1
| b) 38 mm x 16 mm connection with bolts and nuts | No. | 1
TOTAL CARRIED FORWARD TO SUMMARY |  |  |  |  | 0
SCHEDULE 6: ELEVATED TANKS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 6: ELEVATED TANKS
6.1 | Sectional Pressed Steel Elevated Tanks
6.1.1 | Earthworks
| a) Excavate in all materials for concrete bases | m³ | 1
| b) Extra-over for item 6.1.1(a) for intermediate material | m³ | 1
| c) Extra-over for item 6.1.1(a) for hard rock | m³ | 1
6.1.2 | Concrete
| a) Soilcrete with approved gravel mixed with 8% by weight OPC | m³ | 1
| b) No Fines concrete, using 19mm aggregate | m³ | 1
| c) Blinding layer in 20MPa/19mm concrete, 75 mm thick | m² | 1
| d) Supply, mix and place Class 20/19 concrete for column bases | m³ | 1
| e) Supply, mix and place Class 25/19 concrete for column bases | m³ | 1
| f) Supply, mix and place Class 30/19 concrete for column bases | m³ | 1
6.1.3 | Reinforcement
6.1.3.1 | Mild steel bars
| a) Diameter 25mm: Basic price | kg | 1
b) Extra over 6.1.3.1 (a) (Provisional quantities for bars of diameter)
| i) 8mm | kg | 1
| ii) 10mm | kg | 1
| iii) 12mm | kg | 1
TOTAL CARRIED FORWARD
SCHEDULE 6: ELEVATED TANKS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
6.1.3.2 | High tensile steel bars
| a) Diameter 25mm: Basic price | kg | 1
b) Extra over 6.1.3.2 (a) (Provisional quantities for bars of diameter)
| i) 10 mm | kg | 1
| ii) 12 mm | kg | 1
| iii) 16 mm | kg | 1
| iv) 20 mm | kg | 1
6.1.3.3 | High tensile welded mesh reinforcement
| a) Type reference 395 in standard sheet | m² | 1
| b) Type reference 500 in standard sheet | m² | 1
| c) Type reference 617 in standard sheet | m² | 1
6.1.4 | Formwork
6.1.4.1 | Rough formwork | m² | 1
6.1.4.2 | Smooth formwork | m² | 1
6.1.4.3 | Chamfer 30 x 30 mm | m | 1
6.1.4.4 | Unformed surface finishes
| a) Wood floated finish | m² | 1
| b) Steel floated finish | m² | 1
6.1.5 | Sectional steel tank
TOTAL CARRIED FORWARD
SCHEDULE 6: ELEVATED TANKS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
Design, supply, fabrication, delivery to site and erection of the following sectional pressed steel tank with cover, access hatches, ventilator and pipework, all as specified in particular specification including surface dressing, surface preparation and hot dip galvanising, sterilising and water tightness test in the following sizes :
Note: (All tank to have a safety platform as per relevant OH&S regulations)
| a) 50m³ | No. | 1
| b) 65m³ | No. | 1
| c) 100m³ | No. | 1
| d) 150m³ | No. | 1
| e) 200m³ | No. | 1
| f) 250m³ | No. | 1
| g) 300m³ | No. | 1
| h) 350m³ | No. | 1
| i) 400m³ | No. | 1
6.1.6 | Design, supply, fabricate, deliver to site and erection of the following structural steel stands for the sizes of pressed steel tanks indicated and heights as specified. Structural steel stands with associated access ladder, surface dressing, surface preparation, hot dip galvanising including holding down bolts :
Note: (All tank stands to have safety platform and landings as per relevant OH&S regulations)
a) For 50m³ tank volume on the following stand heights:
| i) 15m heights | No. | 1
| ii) 20m heights | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 6: ELEVATED TANKS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
b) For 65m³ tank volume on the following stand heights:
| i) 15m heights | No. | 1
| ii) 20m heights | No. | 1
c) For 100m³ tank volume on the following stand heights:
| i) 15m heights | No. | 1
| ii) 20m heights | No. | 1
d) For 150m³ tank volume on the following stand heights:
| i) 15m heights | No. | 1
| ii) 20m heights | No. | 1
e) For 200m³ tank volume on the following stand heights:
| i) 15m heights | No. | 1
| ii) 20m heights | No. | 1
f) For 250m³ tank volume on the following stand heights:
| i) 15m heights | No. | 1
| ii) 20m heights | No. | 1
g) For 300m³ tank volume on the following stand heights:
| i) 15m heights | No. | 1
| ii) 20m heights | No. | 1
h) For 350m³ tank volume on the following stand heights:
| i) 15m heights | No. | 1
| ii) 20m heights | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 6: ELEVATED TANKS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
k) For 400m³ tank volume on the following stand heights:
| i) 15m heights | No. | 1
| ii) 20m heights | No. | 1
6.1.7 | Supply and deliver to site storage tanks(Polypropolene) (Green Colour) the following capacity(Flexible Coupling Included) :
| a) 5 000 l | No. | 1
| b) 10 000 l | No. | 1
| c) 20 000 l | No. | 1
6.1.8 | Complete design, manufacture, delivery to site and complete erection of the following 1,5m-9m tank stands. (Design should make provision for Hot-dipped galvanizing of the tank stands). (Tank stands to include the safety ladder with cage and safety platform as per relevant OH&S Regulations. Tanks can be 5m³ or 20m³ and will be measured under Item 6.1.7)
| a) Tank stand for 1 (one) tank | No. | 1
| b) Tank stand for 2 (two) tanks | No. | 1
| c) Tank stand for 4 (four) tanks | No. | 1
| d) Tank stand for 6 (six) tanks | No. | 1
6.1.9 | Complete design, manufacture, delivery to site and complete erection of the following 1,5m-9m tank stands. (Design should make provision for Hot-dipped galvanizing of the tank stands). (Tank stands to include the safety ladder with cage and safety platform as per relevant OH&S Regulations. Tanks can be 5m³ or 20m³ and will be measured under Item 6.1.7)
| a) Tank stand for 1,5 meters | Item | 1
| b) Tank stand for 5 meters | Item | 1
| c) Tank stand for 9 meters | Item | 1
6.1.10 | Supply mix and place Class 25/19 concrete for tank stand base as detailed on Drawings | m³ | 1
TOTAL CARRIED FORWARD
SCHEDULE 6: ELEVATED TANKS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
6.2 | PIPEWORK FOR STEELTANKS
6.2.1 | Flanged GMS Pipework at Structural Steel Tanks
| a) 50ND | m | 1
| b) 65ND | m | 1
| c) 80ND | m | 1
| d) 100ND | m | 1
| e) 150ND | m | 1
| f) 200ND | m | 1
6.2.2 | Flanged GMS Fittings
a) Bends 90°
| i) 50ND | No. | 1
| ii) 65ND | No. | 1
| iii) 80ND | No. | 1
| iv) 100ND | No. | 1
| v) 150ND | No. | 1
| vi) 200ND | No. | 1
b) Tees
| i) 50ND | No. | 1
| ii) 65ND | No. | 1
| iii) 80ND | No. | 1
| iv) 100ND | No. | 1
| v) 150ND | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 6: ELEVATED TANKS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| vi) 200ND | No. | 1
6.3 | VALVES
6.3.1 | Supply and install Non-rising Spindle valve complete, including cutting of pipes and couplings
| a) 65ND | No. | 1
| b) 80ND | No. | 1
| c) 100ND | No. | 1
| d) 150ND | No. | 1
| e) 200ND | No. | 1
6.3.2 | Supply and install Leveldex Float valve complete
| a) 50 mm Ø | No. | 1
| b) 80 mm Ø | No. | 1
TOTAL CARRIED FORWARD TO SUMMARY
SCHEDULE 7: DIESEL ENGINES AND GENERATORS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
7.1 | SCHEDULE 7: DIESEL ENGINES AND GENERATORS
7.1.1 | Supply and delivery of air cooled diesel power units complete (with standard equipment as described in the particular specifications PD7)- Painted yellow to specification including fan belts and belt guard. (Belt guards must comply with all safety specifications and standards) ( Pulleys and clutches measured elsewhere)
7.1.1.1 | Manufacturer: LISTER
| a) LT 1 | No. | 1
| b) TR 1 | No. | 1
| c) TR 2 | No. | 1
| d) TR 3 | No. | 1
7.1.1.2 | Installation and commissioning of power units (including plinths, baseplates, adjustable frames) for:
Manufacturer: LISTER
| a) LT 1 | No. | 1
| b) TR 1 | No. | 1
| c) TR 2 | No. | 1
| d) TR 3 | No. | 1
7.1.1.3 | Supply, delivery, complete installation and commissioning of the following centrifugal clutches :
a) High speed :
| i) 125 mm Ø | No. | 1
| ii) 180 mm Ø | No. | 1
7.1.2 | Complete supply, delivery, installation and commissioning of the following pulley ranges for wedge belts, including the required wedge belts:
TOTAL CARRIED FORWARD
SCHEDULE 7: DIESEL ENGINES AND GENERATORS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
7.1.2.1 | SPA Range :
a) Four groove, with pitch diameters
| i) 80 mm and 85 mm | No. | 1
| ii) 90 mm to 150 mm | No. | 1
| iii) 160 mm to 315 mm | No. | 1
| iv) 400 mm to 630 mm | No. | 1
7.1.2.2 | SPB Range :
a) Four groove, with pitch diameters
| i) 125 mm and 150 mm | No. | 1
| ii) 160 mm to 315 mm | No. | 1
| iii) 355 mm to 630 mm | No. | 1
7.1.3 | Supply, delivery and installation of "optional" items for diesel engines as describe in PD7
| a) Flexible exhaust | No. | 1
| b) 90 l Fuel tank with appurtenant pipework and tank stand | No. | 1
| c) Fuel filter & indicator | No. | 1
| d) Oil pressure gauge | No. | 1
| e) Typical machine tool kit (Details to be supplied) | No. | 1
| f) Vibration hour meter | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 7: DIESEL ENGINES AND GENERATORS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
7.2 | STAND-BY GENERATOR INSTALLATION
7.2.1 | Diesel Generator set (1 Phase)
The complete supply, deliver, off-load and installation of 230V Generator - set with Industrial water cooled diesel engine, 12VDC electrical system and battery charger, cartridge type fuel and oil filters, air filter, Battery(ies), rack and cables, alternator to be Electrical design to BS5000 Part 99, IEC60034-1, BS 9000, BS 5514, BS PT1184C. Automatic Voltage Regulator with Voltage regulation ± 0.5%, Heavy duty industrial exhaust silencer 25 dB reduction. Vibration isolated poweder coated steel enclosure with removable cover plate control panel and feeder MCCB, Heavy-duty fabricated steel base with lifting points with Anti-vibration pad complete with base frame incorporates metal 8hr Fuel tank and 3 pin industrial outlet socket with wiring and labels for the following Generators complete with AVR, electrical start equal or similar to Olympian - GEK6SP-1, supplied by Barloworld Power, Caterpillar.
| a) 6KVA/6kW | No. | 1
b) 9KVA/9kW
c) 11KVA/11kW
7.2.2 | Diesel Generator Set (3 Phase)
The complete supply, deliver, off-load and installation of a 400/230V Generator - set with industrial water cooled diesel engine, 12 VDC electrical system and battery charger, Cartridge type fuel and oil filters, Air filter, Battery(ies), rack and cables, Alternator to be Electrical design to BS5000 Part 99, IEC60034-1, BS 9000, BS 5514 BS PT1184C. Automatic Voltage Regulator with Voltage regulation ± 0.5%, Heavy duty industrial exhaust silencer 25dB reduction. Vibration isolated poweder coated steel enclosure with removable cover plate control panel and feeder MCCB, Heavy-duty fabricated steel base with lifting points with Anti-vibration pad complete with baseframe incorporates metal 8hr Fuel tank and 3 pin industrial outlet socket with wiring and labels for the following Generators complete with AVR, electrical start equal or similar to Olympian - GEK6SP-1, supplied by Barloworld Power, Caterpillar.
| a) 18KVA/14.14kW | No. | 1
| b) 22KVA/17.6kW | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 7: DIESEL ENGINES AND GENERATORS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| c) 44KVA/35kW | No. | 1
| d) 65KVA/53kW | No. | 1
| e) 88KVA/70.4kW | No. | 1
| f) 165KVA/135kW | No. | 1
7.2.3 | Weather proof Canopy for Generator-Set
The complete sypply and installation of a weather proof canopy for Generator complete with pad-lockable doors to access motor, refuelling, battery charger and control panel inlets.
| a) 6KVA/6kW | No. | 1
| b) 9KVA/9kW | No. | 1
| c) 11KVA/11kW | No. | 1
| d) 18KVA/14.14kW | No. | 1
| e) 22KVA/17.6kW | No. | 1
| f) 44KVA/35kW | No. | 1
| g) 65KVA/53kW | No. | 1
| h) 88KVA/70.4kW | No. | 1
| i) 165KVA/135kW | No. | 1
7.2.4 | Automatic Main Fails Switch-over Panel (1 Phase)
The complete supply and installation of AMF frame mounted complete with change-over contactors, mechanical interlocked, control unit, busbar, terminals and all material needed to complete the installation (As supplied from Generator manufature), for the following:
| a) 6KVA/6kW | No. | 1
| b) 9KVA/9kW | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 7: DIESEL ENGINES AND GENERATORS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| c) 11KVA/11kW | No. | 1
7.2.5 | Automatic Main Fails Switch-over Panel (3 Phase)
The complete supply and installation of AMF frame mounted complete with motorised switch, MCCB, control unit, busbar, terminals and all material needed to complete the installation (As supplied from Generator manufature), for the following:
| a) 18KVA/14.14kW | No. | 1
| b) 22KVA/17.6kW | No. | 1
| c) 44KVA/35kW | No. | 1
| d) 65KVA/53kW | No. | 1
| e) 88KVA/70.4kW | No. | 1
| f) 165KVA/135kW | No. | 1
7.2.6 | Diesel Fuel
| The supply and fill of fuel tank with Diesel, as specified. | lt | 1
7.2.7 | Generator Earth
| The supply and installation of Generator LV-earthing, with 6m long, 35mm² BCEW, connected to Gen earth, supply cable and one 1.5m earth spikes complete with Lugs, bolts, nuts, washers, clamps and the excavation with equipment needed to complete the installation. | No. | 1
7.2.8 | Testing, Inspection and Commissioning
After installation is complete, test and commission of installation. Contractor to allow for factory and site inspections all travelling to commission and handover. As part of the testing to provided the topped-up diesel fuel after tests and commissioning. Supply maintenance and operational manual and electrical diagram drawings of the following Gen set.
| a) Supply all inspections, test and commissioning equipment to commission and handover the single Phase to the client. | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 7: DIESEL ENGINES AND GENERATORS
ITEM | DESCRIPTION | UNIT | QTY
BROUGHT FORWARD
| b) Supply all inspections, test and commissioning equipment to commission and handover the Three Phase to the client. | No. | 1
| c) The provision and delivery of a dummy load 6 - 11kWatt as part of the testing and commissioning to verify full load capacity. | No. | 1
| d) The provision and delivery of a dummy load 18 - 44kWatt as part of the testing and commissioning to verify full load capacity. | No. | 1
| e) The provision and delivery of a dummy load 88 - 165kWatt as part of the testing and commissioning to verify full load capacity. | No. | 1
7.2.9 | Maintenance for one year
The contractor shall arrange with the supplier as per unit maintenance program for one year in which at least one monthly trip is provided for to service, check and maintain the unit. A service contract shall be provided which shall be agreed to by the council before it is finally accepted.
| a) Single Phase Generation Unit: 6 - 11kWatt | p/m | 1
| b) Three Phase Generation Unit: 18-44kWatt | p/m | 1
| c) Three Phase Generation Unit: 88-165kWatt | p/m | 1
TOTAL CARRIED FORWARD TO SUMMARY
SCHEDULE 8: PUMPS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 8: PUMPS
8.1 | POSITIVE DISPLACEMENT PUMPS
8.1.1 | Supply and delivery of heads and positive displacement pumps complete with pulleys between 190 mm and 460mm in size for the following duty points (all pumps with a maximum of 1500 Rpm):
Manufacturer: Mono (or similar approved)
| a) BP 2 LM | No. | 1
| b) BP 2 M | No. | 1
| c) BP 2 MH | No. | 1
| d) BP 3 LM | No. | 1
| e) BP 3 MH | No. | 1
| f) BP 4 H | No. | 1
| g) BP 4 L | No. | 1
| h) BP 4 M | No. | 1
| i) BP 6 H | No. | 1
| j) BP 6 L | No. | 1
| k) BP 6 M | No. | 1
| l) BP 9 H | No. | 1
| m) BP 9 L | No. | 1
| n) BP 9 M | No. | 1
| o) BP 12 L | No. | 1
| p) BP 12 M | No. | 1
| q) BP 12 H | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 8: PUMPS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| r) BP 16 H | No. | 1
| s) BP 16 L | No. | 1
| t) BP 16 M | No. | 1
| u) BP 22 L | No. | 1
| v) BP 22 M | No. | 1
| w) BP 23 L | No. | 1
| x) BP 23 M | No. | 1
| y) BP 23 H | No. | 1
| z) BP 30 H | No. | 1
| Aa) BP 30 L | No. | 1
| Bb) BP 30 M | No. | 1
| Cc) BP 40 L | No. | 1
| Dd) BP 40 M | No. | 1
| Ee) BP 50 M | No. | 1
| Ff) BP 65 L | No. | 1
| Gg) BP 85 M | No. | 1
| Hh) BP 105 M | No. | 1
8.1.2 | Installation and commissioning of positive displacement pump heads and pumps complete with pulleys between 190 mm and 460 mm in size:
| a) BP 2 LM | No. | 1
| b) BP 2 M | No. | 1
| c) BP 2 MH | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 8: PUMPS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| d) BP 3 LM | No. | 1
| e) BP 3 MH | No. | 1
| f) BP 4 H | No. | 1
| g) BP 4 L | No. | 1
| h) BP 4 M | No. | 1
| i) BP 6 H | No. | 1
| j) BP 6 L | No. | 1
| k) BP 6 M | No. | 1
| l) BP 9 H | No. | 1
| m) BP 9 L | No. | 1
| n) BP 9 M | No. | 1
| o) BP 12 M | No. | 1
| p) BP 12 H | No. | 1
| q) BP 16 H | No. | 1
| r) BP 16 L | No. | 1
| s) BP 16 M | No. | 1
| t) BP 22 L | No. | 1
| u) BP 22 M | No. | 1
| v) BP 30 H | No. | 1
| w) BP 30 L | No. | 1
| x) BP 30 M | No. | 1
| y) BP 40 L | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 8: PUMPS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| z) BP 40 M | No. | 1
| aa) BP 50 M | No. | 1
| bb) BP 65 L | No. | 1
| cc) BP 85 M | No. | 1
| dd) BP 105 M | No. | 1
8.2 | BOREHOLE COLUMN PIPES
Supply and installation of column pipes, shafts, bearings, stabilisers, for boreholes 150 mm diameter :
| a) 50 mm Ø piping | m | 1
| b) 65 mm Ø piping | m | 1
| c) 80 mm Ø piping | m | 1
| d) 100 mm Ø piping | m | 1
8.3 | ANCILLARY PIPE WORK
8.3.1 | Alternative 1 - Supply and installation of ancillary pipework and Mechanical equipment as described in particular specification PD 10 and detailed on Drawings COMPLETE
| a) 50 mm Ø piping | unit | 1
| b) 65 mm Ø piping | unit | 1
| c) 80 mm Ø piping | unit | 1
| d) 100 mm Ø piping | unit | 1
8.3.2 | Alternative 2 - Supply and installation of ancillary pipework and mechanical equipment as described in PD10 and detailed on Drawings COMPLETE
| a) 50 mm Ø piping | unit | 1
| b) 65 mm Ø piping | unit | 1
TOTAL CARRIED FORWARD
SCHEDULE 8: PUMPS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| c) 75 mm Ø piping | unit | 1
| d) 100 mm Ø piping | unit | 1
8.4 | SUBMERSIBLE PUMPS
8.4.1 | Supply and delivery of centrifugal submersible pumps with installation and adequate lightning protection for the following duty points:
Manufacturer: ___________________
| a) Head = 33m Flow = 1,6m³/h (Model: ________________) | No. | 1
| b) Head = 47m Flow = 1,6m³/h (Model: ________________) | No. | 1
| c) Head = 98m Flow = 1,6m³/h (Model: ________________) | No. | 1
| d) Head = 148m Flow = 1,6m³/h (Model: ________________) | No. | 1
| e) Head = 35m Flow = 2,8m³/h (Model: ________________) | No. | 1
| f) Head = 70m Flow = 2,8m³/h (Model:________________) | No. | 1
| g) Head = 140m Flow = 2,8m³/h (Model: _______________) | No. | 1
| h) Head = 38m Flow = 4,8m³/h (Model: ________________) | No. | 1
| i) Head = 40m Flow = 4,8m³/h (Model:________________) | No. | 1
| j) Head = 80m Flow = 4,8m³/h (Model:________________) | No. | 1
| k) Head = 100m Flow = 4,8m³/h (Model: _______________) | No. | 1
| l) Head = 40m Flow = 9,0m³/h (Model:________________) | No. | 1
| m) Head = 55m Flow = 9,0m³/h (Model: ________________) | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 8: PUMPS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| n) Head = 105m Flow = 9,0m³/h (Model: _______________) | No. | 1
8.4.2 | Installation and commissioning of centrifugal submersible pumps of manufacturer in Item 8.4.11.
| a) Head = 33m Flow = 1,6m³/h (Model: ________________) | No. | 1
| b) Head = 47m Flow = 1,6m³/h (Model: ________________) | No. | 1
| c) Head = 98m Flow = 1,6m³/h (Model: ________________) | No. | 1
| d) Head = 148m Flow = 1,6m³/h (Model: _________________) | No. | 1
| e) Head = 35m Flow = 2,8m³/h (Model: ________________) | No. | 1
| f) Head = 70m Flow = 2,8m³/h (Model:________________) | No. | 1
| g) Head = 140m Flow = 2,8m³/h (Model: ________________) | No. | 1
| h) Head = 38m Flow = 4,8m³/h (Model: ________________) | No. | 1
| i) Head = 40m Flow = 4,8m³/h (Model:________________) | No. | 1
| j) Head = 80m Flow = 4,8m³/h (Model:________________) | No. | 1
| k) Head = 100m Flow = 4,8m³/h (Model: _______________) | No. | 1
| l) Head = 40m Flow = 9,0m³/h (Model:________________) | No. | 1
| m) Head = 55m Flow = 9,0m³/h (Model: ________________) | No. | 1
| n) Head = 105m Flow = 9,0m³/h (Model: ________________) | No. | 1
8.5 | Supply, delivery, installation and commissioning of submersible pump pipework (HDPE/10) and nylon rope (Electric cable measured under schedule 9) for :
| a) 40 mm HDPE | m | 1
TOTAL CARRIED FORWARD
SCHEDULE 8: PUMPS
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| b) 50 mm HDPE | m | 1
| c) 65 mm HDPE | m | 1
8.6 | COMPLETE SUPPLY, DELIVERY & INSTALLATION OF:
8.6.1 | Baseplates
| a) 40mm | No. | 1
| b) 50 mm | No. | 1
| c) 65 mm | No. | 1
8.7 | MISCELLANEOUS
8.7.1 | Piezometer Tubes
| Supply, deliver and install piezometer tubes in the boreholes. The tubes will consist of 25mm LDPE Class 6 pipe strapped to the pipework of the borehole equipment (See detailed Drawings) | m | 1
8.7.2 | Water Level Meters
Supply and delivery of water level meters at Sedibeng Water office. The water level meter of the analogue type with non-stretching 2 core. Cabling on reel, pre-marked at 1m intervals with two brass weights (5mm and 10mm)
| a) 100m | No. | 1
8.7.3 | Borehole information plate
| a) Supply, deliver and install the borehole information plate as per drawings (Information plate to be fixed inside the pumphouse) | No | 1
| b) Supply, deliver and install the borehole information plate as per drawings (Information plate to be fixed on the outside of the pumphouse) | No | 1
TOTAL CARRIED FORWARD TO SUMMARY
SCHEDULE 9: ELECTRICAL WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 9: ELECTRICAL WORK
9 | ELECTRICAL WORK - LV INSTALLATION
Note: All items to include for supply, design manufacture, delivery, installation, commissioning and maintenance as per specifications
9.1 | ELECTRICAL MOTORS
9.1.1 | Supply and deliver electrical motors complete with pulleys, fan belts, wire guards, belt guards, brackets and required spacers in the following types:
Manufacturer: _________________________
9.1.1.1 | Single phase with D.O.L starting
| a) 0,55 kW (Model: ________________) | No. | 1
| b) 0,75 kW (Model: ________________) | No. | 1
| c) 1,1 kW (Model: ________________) | No. | 1
| d) 1,5 kW (Model: ________________) | No. | 1
| e) 2,2 kW (Model: ________________) | No. | 1
| f) 3,0 kW (Model: ________________) | No. | 1
9.1.1.2 | Three phase with D.O.L starting
| a) 2,2 kW (Model: ________________) | No. | 1
| b) 3,0 kW (Model: ________________) | No. | 1
| c) 4,0 kW (Model: ________________) | No. | 1
| d) 5,5 kW (Model: ________________) | No. | 1
| e) 7,5 kW (Model: ________________) | No. | 1
| f) 11,0 kW (Model: ________________) | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 9: ELECTRICAL WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
9.1.1.3 | Three phase with star-delta starting
| a) 15,0 kW (Model: ________________) | No. | 1
| b) 18,5 kW (Model: ________________) | No. | 1
| c) 22,0 kW (Model: ________________) | No | 1
9.1.2 | Install and commission electrical motors complete with pulleys, fan belts,wire gaurds and required spacers in the following types:
Manufacturer as in Item 9.1.1
9.1.2.1 | Single phase with D.O.L starting
| a) 0,55 kW | No. | 1
| b) 0,75 kW | No. | 1
| c) 1,1 kW | No. | 1
| d) 1,5 kW | No. | 1
| e) 2,2 kW | No. | 1
| f) 3,0 kW | No. | 1
9.1.2.2 | Three phase with D.O.L starting
| a) 2,2 kW | No. | 1
| b) 3,0 kW | No. | 1
| c) 4,0 kW | No. | 1
| d) 5,5 kW | No. | 1
| e) 7,5 kW | No. | 1
| f) 11,0 kW | No | 1
TOTAL CARRIED FORWARD
SCHEDULE 9: ELECTRICAL WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
9.1.2.3 | Three phase with star-delta starting
| a) 15,0 kW | No. | 1
| b) 18,5 kW | No. | 1
| c) 22,0 kW | No | 1
9.1.3 | LOW VOLTAGE CABLES
The supply and installation of stranded copper cables installed in cable trenches, on cable racks or trays or fixed to steel structure.Prices to include for terminations and all fixing materials.
9.1.3.1 | Supply Armored Cable from Eskom Metering Kiosk to MCC's
| a) 6 mm² x 4 core | m | 1
| b) 10 mm² x 4 core | m | 1
| c) 16 mm² x 4 core | m | 1
9.1.3.2 | Supply Armoured Cable from MCC to Pump motor
| a) 4 mm² x 3 core | m | 1
| b) 6 mm² x 3 core | m | 1
| c) 10 mm² x 3 core | m | 1
| d) 16 mm² x 3 core | m | 1
9.1.3.3 | Supply Submersible Cable from MCC to Pump motor
| a) 4 mm² x 3 core | m | 1
| b) 6 mm² x 3 core | m | 1
| c) 10 mm² x 3 core | m | 1
TOTAL CARRIED FORWARD
SCHEDULE 9: ELECTRICAL WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
9.1.3.4 | Control Cable from MCC to Reservoir
| a) 2.5 mm² x 4 core | m | 1
9.1.3.5 | Control Cables to Protection Instruments
| a) 1.5 mm² x 3 core | m | 1
9.1.4 | EARTH CONDUCTORS
9.1.4.1 | The supply and installation of bare stranded copper conductors installed in the same route as the cables including terminations
| a) 4 mm² | m | 1
| b) 6 mm² | m | 1
| c) 10 mm² | m | 1
| d) 16 mm² | m | 1
| e) 70 mm² | m | 1
9.1.4.2 | The supply and installation of a 1.5m Earth rod with clamps | No. | 1
9.1.5 | CABLE TRENCH EXCAVATION
9.1.5.1 | Excavations of cable trenches, bedding, backfilling compacting and making good of cable trenches in:
| a) Soft excavation 0-1 m deep | m³ | 1
| b) Extra over (for intermediate excavation) | m³ | 1
| c) Extra over ( for hardrock excavation | m³ | 1
TOTAL CARRIED FORWARD
SCHEDULE 9: ELECTRICAL WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
9.1.6 | MOTOR CONTROL CENTRES
9.1.6.1 | TYPE ONE
Supply, delivery, installation and commissioning of the following distribution boards/MCC's, complete with all telemetry, plc equipment, internal wiring, labels etc. as specified and shown on drawings including earth and conduit terminations but excluding cable terminations. Including fixing materials to install MCC on pedestal in pumphouse
9.1.6.1.1 | Single phase with D.O.L. starting
| a) 1,1 kW | No | 1
| b) 1,5 kW | No | 1
| c) 2,2 kW | No | 1
| d) 3,0 kW | No | 1
9.1.6.1.2 | Three phase with D.O.L. starting
| a) 2,2 kW | No | 1
| b) 3,0 kW | No | 1
| c) 4,0 kW | No | 1
| d) 5,5 kW | No | 1
| e) 7,5 kW | No | 1
| f) 11,0 kW | No | 1
9.1.6.1.3 | Three phase with star-delta starting
| a) 15,0 kW | No | 1
| b) 18,5 kW | No | 1
| c) 22 kW | No | 1
TOTAL CARRIED FORWARD
SCHEDULE 9: ELECTRICAL WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
9.1.6.2 | TYPE TWO
Supply and installation of MCC's complete with all equipment, internal wiring, labels,protection equipment and earthing for the following kW ratings. Including fixing materials to install MCC on pedestal in pumphouse.
9.1.6.2.1 | Single phase with D.O.L starting
| a) 1,1 kW | No. | 1
| b) 1,5 kW | No. | 1
| c) 2,2 kW | No. | 1
| d) 3,0 kW | No. | 1
9.1.6.2.2 | Three phase with D.O.L starting
| a) 2,2 kW | No. | 1
| b) 3,0 kW | No. | 1
| c) 4,0 kW | No. | 1
| d) 5,5 kW | No. | 1
| e) 7,5 kW | No. | 1
| f) 11,0 kW | No | 1
9.1.6.2.3 | Three phase with star-delta starting
| a) 15,0 kW | No. | 1
| b) 18,5 kW | No. | 1
| c) 22,0 kW | No. | 1
9.1.7 | LOCKS
9.1.7.1 | Supply and installation of No. 2 locks. | No | 1
TOTAL CARRIED FORWARD
SCHEDULE 9: ELECTRICAL WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
9.1.8 | GENERAL ELECTRICAL INSTALLATION
9.1.8.1 | Conduit
The supply and installation of heavy gauge galvanised conduit complete with draw boxes and accessories surface mounted.
| i) 20mm dia | m | 1
| ii) 25mm dia | m | 1
The supply and installation of PVC conduit complete with fixing materials surface mounted
| 32mm dia | m | 1
9.1.8.2 | Conductors and Earth Conductors
The supply and installation of PVC insulated copper conductors drawn into conduit.
| i) 2,5mm.sq PVC wire | m | 1
| ii) 2,5mm.sq earth conductor | m | 1
9.1.8.3 | Light Switches
The supply and installation industrial type, surface mounted light switches complete with outlet boxes.
| i) 16A, one lever, one way, waterproof light switch | No | 1
9.1.8.4 | Luminaries
The supply and installation of 1500mm fluorescent waterproof light fitting including lamps, control gear and fixing materials as specified.
| Fluorescent 1500mm light fitting | No | 1
9.1.8.5 | Flow Switches
The supply and installation of Flow Switches installed in steel pipe.The rate shall include for reduction of pipe work where required.
TOTAL CARRIED FORWARD
SCHEDULE 9: ELECTRICAL WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| Flow Switch | No. | 1
9.1.8.6 | Pressure Gauge
The supply, installation, calibration and commissioning of pressure gauges as specified
Type Wika complete with macrolon contacts, snubber and shut-off valve installed onto stainless steel niple.
| 0 - 1600 kPA | No | 1
| 0 - 1000 kPA | No | 1
9.1.9 | LEVEL TRANSMITTER RESERVOIR LEVELS
9.1.9.1 | Boll level switch 10A with relay | No. | 1
9.1.10 | TERMINATION, CABLE AND WIRING NUMBERS
9.1.10.1 | Allow under this item for wire, cable and termination numbering not allowed for elsewhere per MCC | No | 1
9.1.11 | MEDIUM DUTY GAL. WIRE MESH TRAY
Supply and installation of medium duty cable tray complete with bends, corners, T-pieces and fixing materials
9.1.11.1 | 150mm | m | 1
9.1.12 | INSTRUMENTATION STAND PIPE
| Supply and installation of instrumentation stand pipe to accommodate Wika pressure gauge. Including 3m 10mm stainless steel piping | No | 1
9.1.13 | DOUBLE POLE ISOLATER
Supply and installation of double pole isolator 16 Amp
9.1.13.1 | Type GEWEISS GW 70431 | No | 1
TOTAL CARRIED FORWARD
ITEM | DESCRIPTION | UNIT | QTY
BROUGHT FORWARD
9.1.14 | WELDING SOCKET OUTLET
9.1.14.1 | Supply and installation of Waco 32 Amp 5-Pin welding outlet | No | 1
9.1.15 | FAN / FILTER UNIT
| Supply and installation of fan / filter unit type Freudenberg Varivent FK5G | No | 1
9.1.16 | SMALL POWER INSTALLATION
9.1.16.1 | Supply and installation of 16 Amp switch socket outlet, surface mounted. | No | 1
9.1.16.2 | Supply and installation of light switch, 1 lever surface mounted. | No | 1
9.1.16.3 | Supply and installation of power point complete with galv. conduit and GP wiring.
| a.) Light switch and light point 1.5mm² GP wire. | No. | 1
| b.) SSO point 2.5mm² GP wire. | No. | 1
| c.) Welding plug point 6mm² GP wire. | No. | 1
9.1.16.4 | Light fitting, 2PL 18Watt Bulkhead, Beka. | No. | 1
9.1.17 | DRAWINGS
9.1.17.1 | Work drawings of all MCC's and equipment for approval by the Engineer. | L/Sum | 1
9.1.17.2 | The supply of As-build drawings in electronic format (Autocad) DXF files. Amount is per installation. | No. | 1
9.1.18 | GENERAL
| a) Electrical spares per borehole installation | No. | 1
| b) Operation and maintenance manuals including circuit diagrams (3 sets) per borehole installation measured under Schedule 8 | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 9: ELECTRICAL WORK
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| c) All items and labour necessary to complete test and commission the complete electrical installation including the issuing of all relevant test certificates and the certificate of compliance. Per borehole) | No | 1
TOTAL CARRIED FORWARD TO SUMMARY
SCHEDULE 10: EMERENCY MAINTENANCE
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
EMERGENCY MAINTENANCE
10.1 | Removal of Existing Equipment
Rates: Rates tendered for the removal of existing equipment on boreholes must make provision for the following :
a) Complete dismantling of equipment
b) Transport of equipment to the Closes Water Service Provider's yard.
c) Off-loading of equipment at the Water Service Provider yard.
10.1.1 | a) Removal of existing handpump equipment | No. | 1
| b) Extra-over item 10.1.1 (a) for the additional effort related to the depth of the Borehole to remove existing pumping equipment | Item | 1
10.1.2 | a) Removal of existing windmill equipment | No. | 1
| b) Extra-over item 10.1.2 (a) for the additional effort related to the depth of the Borehole to remove existing pumping equipment | Item | 1
10.1.3 | a) Removal of existing motorised equipment | No. | 1
| b) Extra-over item 10.1.3 (a) for the additional effort related to the depth of the Borehole to remove existing pumping equipment | m | 1
10.1.4 | Removal of an existing standard pumphouse | No. | 1
10.1.5 | Re-erection of the original standard pumphouse | No. | 1
10.1.6 | Removal of and existing tank and tankstand complete with concrete base | No. | 1
10.1.7 | Removal of existing Lister engine | No. | 1
10.1.8 | Complete removal of standard standpipe and disposal of concrete. | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 10: EMERENCY MAINTENANCE
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
10.2 | Other Emergency Maintenance (Only on instruction from Engineer)
10.2.1 | Replacing of 10kl Leaking Tanks complete, (including green polypropolene tank and the dismantle and reinstatement of tank pipework). | No. | 1
10.2.2 | The complete replacement of diesel engine concrete pumphouse foundations including the dismantle and disposal of the existing concrete base. | No. | 1
TOTAL CARRIED FORWARD TO SUMMARY
SCHEDULE 11: PUMP HOUSES & FENCING
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 11: PUMPHOUSES
11.1 | PUMPHOUSES
11.1.1 | Complete manufacture and delivery to site of pumphouse complete including welded borehole number on 5 x 50 x 400mm Flat bar.
| a) Pump House Type A as per Drawings | No. | 1
| b) Pump House Type B as per Drawings | No. | 1
| c) Pump House Type C as per Drawings | No. | 1
11.1.2 | Complete construction of appurtenant concrete work for pumphouses :
| a) Pump House Type A as per Drawings | No. | 1
| b) Pump House Type B as per Drawings | No. | 1
| c) Pump House Type C as per Drawings | No. | 1
11.1.3 | Complete erection of pumphouses :
| a) Pump House Type A as per Drawings | No. | 1
| b) Pump House Type B as per Drawings | No. | 1
| c) Pump House Type C as per Drawings | No. | 1
11.2 | SECURITY FENCING
11.2.1 | Supply and erect fencing complete as per Drawings
| a) Corner posts | No. | 1
| b) Intermediate posts | No. | 1
| c) Gate posts | No. | 1
| d) Double gate 3,6m total width, with locking chain, hinges and drop bolts. | No. | 1
| e) Razor mesh with wires | m | 1
TOTAL CARRIED FORWARD
SCHEDULE 11: PUMP HOUSES & FENCING
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| f) Cast-insitu Concrete Class 15/19 (200 x 200 mm) around fence | m
11.2.2 | Concrete Palisades
| a) Supply all material and erect 1.8m high concrete palisade fence complete with rails, poles and foundation to supplier/manufacturer's specifications. | m
b) Supply and install gates as per drawings
| i) Vehicle gate | No.
| ii) Personnel gate | No.
11.2.3 | Wire Mesh Fencing
Posts
All posts shall include ‘Locking Recess Mechanism’ to secure panel edge and be sealed with a UV stabilized polymer cap. Posts shall be Hot Dipped Galvanized after fabrication whereby zinc coating shall be smooth and essentially free from lumps, globs, or points.
(a) Section 1: 2.1m long of 85mm x 85mm x 45mm piece
| without joints | No
(b) Section 2: 2.7m long taper post of 85mm x 85mm x
| 45mm piece without joints | No
Panels
Mesh panel to be steel pressed with 4 x v-bends (rigidity), 2 x 70 degree side flanges (all internal fixtures – shielded from attack) and top and toe bend made up of high carbon wire in accordance to BS EN 10223-4. Tensile strength of welds must be at least 75% of the tensile strength of the wire as per SABS 2536/YM139, 8 x anti-scale gussets positioned where bend connects to the post and to include 8 x Double bolt comb clamps and 8 x Single bolt comb clamps with 24 x Anti vandal tech bolt. Panels to be Hot Dipped Galvanized and Alu-galv coated Coating to be corrosion tested for 1008 hours without signs of red rust.
| (a) Sectiona 1: 2.1m height and a width of 3.305m | No
| (b) Panel aperture size: 76.2 mm x 12,7 mm | No
TOTAL CARRIED FORWARD
SCHEDULE 11: PUMP HOUSES & FENCING
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
Toppings
| (a) 450mm concertina coil | m | 1
Gates
| (a) 6m single swing sliding wire mesh gate | No. | 1
TOTAL CARRIED FORWARD TO SUMMARY
SCHEDULE 12: SEWER LINE
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
SCHEDULE 12: SEWER LINE
12.1 | SEWER LINE
SCHEDULE 3: PIPE WORK
12.1 | SITE CLEARANCE
12.1.1 | Clear 3m wide vegetation and trees of girth up to 1m | m | 1
12.1.2 | Remove trees over 1 m and up to 2 m girth | No. | 1
12.2 | EXCAVATION - "MECHANICAL"
12.2.1 | Excavate in all materials for trenches for pipes with a diameter between 63 mm and 400 mm, backfill compact and dispose of surplus/unsuitable material
Note: See different length categories
12.2.1.1 | Up to 1,5m in depth for the following:
| a.) Total pipe line length (as per instruction) less than 200m | m³ | 1
| b.) Total pipe line length (as per instruction) ≥ 200m but < 500m | m³ | 1
| c.) Total pipe line length (as per instruction) ≥ 500m but < 2000m | m³ | 1
| d.) Total pipe line length (as per instruction) ≥ 2000m | m³ | 1
12.2.1.2 | Extra-over item 3.2.1.1 incl. for excavation (provisional) in :
| a) Intermediate material | m³ | 1
| b) Hard rock material | m³ | 1
12.2.1.3 | Extra over Item 3.2.1.1
| a) Backfill and compact by means of labour intensive construction methods in layers of 200mm compacted to 90% mod AASHTO | m³ | 1
| b) Disposal of surplus material by means of labour intensive construction methods within 20m from the source of spoil utilising wheel barrows | m³ | 1
TOTAL CARRIED FORWARD
SCHEDULE 12: SEWER LINE
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
12.2.1.4 | Excavate unsuitable material from trench bottom and dispose thereof within the free haul distance (Provisional) | m³ | 1
12.2.2 | EXCAVATION ANCILLARIES - "MECHANICAL"
12.2.2.1 | Imported backfill materials from designated borrow pits (Only if approved by Engineer) | m³ | 1
12.2.2.2 | Opening up and closing down of designated borrow pit | m³ | 1
12.2.2.3 | Compaction in road reserves | m³ | 1
12.2.2.4 | Overhaul :
| a) Short haul | m³/km | 1
| b) Truck haul | m³/km | 1
12.2.3 | FINISHING - "MECHANICAL"
Reinstate road surfaces complete with:
| a) Gravel | m2 | 1
| b) 30mm premix | m2 | 1
BEDDING (PIPES)
12.2.4 | PROVISION OF BEDDING "MECHANICAL"
12.2.4.1 | Provision of bedding material from trench excavations
| a) Selected granular material | m³ | 1
| b) Selected fill material | m³ | 1
12.2.4.2 | Provision of bedding material by importation from other necessary excavations (free haul within the village boundaries)
| a) Selected granular material | m³ | 1
| b) Selected fill material | m³ | 1
TOTAL CARRIED FORWARD
SCHEDULE 12: SEWER LINE
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
12.2.4.3 | Provision of bedding material by importation from borrow pits (freehaul within the village boundaries)
| a) Selected granular material | m³ | 1
| b) Selected fill material | m³ | 1
12.2.4.4 | Concrete bedding | m³ | 1
12.2.4.5 | Encasing of pipes in Class 19/20 concrete | m³ | 1
12.2.5.6 | Overhaul of material for bedding cradle and selected fill blanket | m³/km | 1
12.3 | EXCAVATION - "LABOUR BASED"
12.3.1 | Excavate in all materials for trenches for pipes with a diameter between 20 mm and 200 mm, backfill compact and dispose of surplus/unsuitable materials:
12.3.1.1 | Up to 1,5m in depth
12.3.1.2 | Extra-over item 3.3.1.1 incl. for excavation (provisional) in :
a) Soft excavation Class 2
| b) Soft excavation Class 3 | m³ | 1
| c) Intermediate material | m³ | 1
| d) Hard rock material | m³ | 1
12.3.1.3 | Excavate unsuitable material from trench bottom and dispose thereof | m³ | 1
12.3.2 | EXCAVATION ANCILLARIES - "LABOUR BASED"
12.3.2.1 | Imported backfill materials from designated borrow pits (Only if approved by Engineer) | m³ | 1
12.3.2.2 | Opening up and closing down of designated borrow pit | No. | 1
12.3.2.3 | Compaction in road reserves | m³ | 1
TOTAL CARRIED FORWARD
SCHEDULE 12: SEWER LINE
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
12.3.2.4 | Overhaul :
a) Wheel barrow haul.
| i) 0 - 100m | 0.06m³ | 1
| ii) 101 - 200m | 0.06m³ | 1
12.3.3 | FINISHING - "LABOUR BASED"
Reinstate road surfaces complete with:
| a) Gravel | m² | 1
| b) 30mm premix | m² | 1
BEDDING (PIPES)
12.3.4 | PROVISION OF BEDDING "LABOUR BASED"
12.3.4.1 | Available from trench within excavation (Subclause 3.3.1)
| a) Selected granular material | m³ | 1
| b) Selected fill material | m³ | 1
Import from borrow pit within a distance of 0.2km (Only with written consent of Engineer) Import from borrow pit with wheelbarrow
12.3.4.2 | a) Selected granular material
| i) 0 - 100m | 0.06m³ | 1
| ii) 101 - 200m | 0.06m³ | 1
12.3.4.3 | b) Selected fill material
| i) 0 - 100m | 0.06m³ | 1
| ii) 101 - 200m | 0.06m³ | 1
12.3.4.4 | Concrete bedding | m³ | 1
TOTAL CARRIED FORWARD
SCHEDULE 12: SEWER LINE
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
12.3.4.5 | Encasing of pipes in Class 19/20 concrete | m³ | 1
12.3.4.6 | Overhaul of material for bedding cradle and selected fill blanket | m³/km | 1
12.4 | PIPE WORK
Supply, lay, joint, bed, test and disinfect the following pipes complete with couplings to the relevant SABS standards including short lengths
| a) 110 mm diameter Class 16 | m | 1
| b) 160 mm diameter Class 16 | m | 1
| c) 200 mm diameter Class 16 | m | 1
| d) 200 mm diameter Class 16 | m | 1
| e) 250 mm diameter Class 16 | m | 1
12.5 | PIPE WORK
Supply, lay, joint, bed, Commision and disinfect the following manhole complete with couplings and diameter to the relevant SABS standards similor to the existing ones.
| a) 75 mm diameter deep | m | 1
| b) 1 m diameter deep | m | 1
| c) 1,5 m diameter deep | m | 1
| d) 2 m diameter deep | m | 1
| e) 2,5 m diameter deep | m | 1
| f) 3 m diameter deep | m | 1
| g) 3,5 m diameter deep | m | 1
| h) 4 m diameter deep | m | 1
| i) 4,5 m diameter deep | m | 1
TOTAL CARRIED FORWARD
SCHEDULE 12: SEWER LINE
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
| j) 5 m diameter deep | m | 1
12.6 | UBLOCKING AND CLEANING
| a) Unblocking of Pipes and Manhole utilizing rods and chemicals. | hr | 1
| b) Unblocking of Pipes and Manhole utilizing pressure jet and chemicals. | hr | 1
| c) Cleaning and disposal of waste materials to the nearest site. | m³ | 1
12.7 | LIFTING OF MANHOLE RINGS WITH SIMILAR TO THE ONE'S ON SITE.
| a) 75 mm diameter | m | 1
| b) 100mm diameter | m | 1
| c) 125mm diameter | m | 1
| d) 150mm diameter | m | 1
| e) 180mm diameter | m | 1
| f) 250mm diameter | m | 1
TOTAL CARRIED FORWARD TO SUMMARY
SCHEDULE 13: HEALTH AND SAFETY
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
13.1 | HEALTH AND SAFETY TRAINING FILE
13.1.1 | Allow for the cost to compile a health and safety Register file to include all the required Training material. | Sum | 1
13.1.2 | Allow for the cost of compiling a Health and Safety Register file for each sub-contractor including all the applicable supporting documentation as for the Principal Contractor. | No. | 1
13.1.3 | Overheads, charges and profit on Item 13.1.2 | % | 1
13.2 | SERVICE PROVIDER APPOINTMENTS
13.2.1 | Allow for the appoinment of a SHE Coordinator to do monthly inspections. (Control on SHE Representative) | month | 1
13.2.2 | Allow for the appointment of a H&S trainer to train the SHE representative. | Sum | 1
13.3 | TRAINING OF SITE
Allow for the cost of training courses:
13.3.1 | Induction training for all workers of Principal Contractor. | No. | 1
13.3.2 | Induction training for all workers of sub-contractors. | No. | 1
13.3.3 | Public awareness training | No. | 1
13.3.4 | Tool box talks on enviromental awareness | No. | 1
13.3.5 | First aid training | No. | 1
13.3.6 | Fire fighting awareness | No. | 1
13.3.7 | HIV training - 7 Units | No. | 1
13.3.8 | Tool box talks on hand tools | No. | 1
13.3.9 | Tool box talks on hand tool accidents | No. | 1
13.3.10 | Tool box talks on machine guarding | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 13: HEALTH AND SAFETY
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
13.3.11 | Tool box talks on lifting materials by hand | No. | 1
13.3.12 | Tool box talks on safe loading | No. | 1
13.3.13 | Tool box talks on safety signs | No. | 1
13.3.14 | Tool box talks on ten commandments of safety | No. | 1
13.3.15 | Community training | No. | 1
13.4 | ACCREDITED TRAINING OFF SITE
13.4.1 | Training on construction vechicles and mobile plant for each Operator. | No. | 1
13.4.2 | First aid Level 1 | No. | 1
13.4.3 | Fire fighting Level 1 | No. | 1
13.4.4 | SHE representative Certificate | No. | 1
13.4.5 | Incident management Certificate | No. | 1
13.4.6 | Risk assessment Certificate | No. | 1
13.4.7 | COID Act Certificate | No. | 1
13.4.8 | Scaffold erector training | No. | 1
13.5 | SHE REPRESENTATIVE
13.5.1 | Allow for the cost of a SHE representative to be permanantly on site (for Principal Contractor). | month | 1
13.6 | FIRST AID EQUIPMENT
13.6.1 | Fisrt aid box | No. | 1
13.6.2 | First aid boxes for sub-contractor | No. | 1
13.6.3 | Stretcher | No. | 1
TOTAL CARRIED FORWARD
SCHEDULE 13: HEALTH AND SAFETY
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
13.6.1 | Hardhats | No. | 1
13.7 | FIRE FIGTHINIG EQUIPMENT
Allow for the cost of:
13.7.1 | Fire extinguishers | No. | 1
13.7.2 | Fire extinguishers of sub-contractors | No. | 1
13.7.3 | Fire extinguishers test certificates | No. | 1
13.8 | PERSONNEL PROTECTIVE CLOTHING
Allow for the cost of:
13.8.2 | Safety shoes | No. | 1
13.8.3 | Dust masks | No. | 1
13.8.4 | Safety goggles | No. | 1
13.8.5 | Gum boots | No. | 1
13.8.6 | Welding helmet | No. | 1
13.8.7 | Gas Welding goggles | No. | 1
13.8.8 | Leather aprons | No. | 1
13.8.9 | Overalls | No. | 1
13.9 | BARRICADING
Allow for the cost of barricading of excavations as instructed by Agent
13.9.1 | Danger tape | m | 1
13.9.2 | 1.2m Dayglo Mesh | m | 1
TOTAL CARRIED FORWARD
SCHEDULE 13: HEALTH AND SAFETY
ITEM | DESCRIPTION | UNIT | QTY | BASE RATE | CONTRACT RATE
BROUGHT FORWARD
13.10 | CHEMICAL TOILETS
Allow for chemical toilets on site as required by the specification
13.10.1 | For male workers | No. | 1
13.10.2 | For female workers | No. | 1
13.11 | EATING FACILITIES
13.11.1 | Allow for eating facilities in the form of a shaded net, table and chairs. | No. | 1
13.12 | SIGNS
Allow for sign boards to be displayed on site as required
13.12.1 | No entry signs | No. | 1
13.12.2 | First aid signs | No. | 1
13.12.3 | Fire equipment signs | No. | 1
13.12.4 | Warning signs (Construction area boards) | No. | 1
13.12.5 | Traffic control boards | No. | 1
13.13 | MEDICAL TESTS
Allow for medical tests for workers as required
13.13.1 | Medical fitness tests for operators on construction vehicles | No. | 1
13.13.2 | Fitness tests for workers at heights | No. | 1
13.13.3 | Fitness tests for general workers | No. | 1
13.14 | LOAD TESTING ON CRANES
13.14.1 | Allow for load testing of cranes to be used on site | No. | 1
TOTAL CARRIED FORWARD TO SUMMARY
SUMMARY OF ALL SECTIONS
SECTION | DESCRIPTION |  |  |  | AMOUNT
1 | SCHEDULE 1: GENERAL |  |  |  | 0 | #DIV/0!
2 | SCHEDULE 2: DAYWORKS |  |  |  | 0
3 | SCHEDULE 3: PIPE WORK |  |  |  | 0
4 | SCHEDULE 4: HANDPUMPS |  |  |  | 0
5 | SCHEDULE 5: WINDMILLS |  |  |  | 0
6 | SCHEDULE 6: ELEVATED TANKS |  |  |  | 0
7 | SCHEDULE 7: DIESEL ENGINES AND GENERATORS |  |  |  | 0
8 | SCHEDULE 8: PUMPS |  |  |  | 0
9 | SCHEDULE 9: ELECTRICAL WORK |  |  |  | 0
10 | SCHEDULE 10: EMERENCY MAINTENANCE |  |  |  | 0
11 | SCHEDULE 11: PUMP HOUSES & FENCING |  |  |  | 0
12 | SCHEDULE 12: SEWER LINE |  |  |  | 0
13 | SCHEDULE 13: HEALTH AND SAFETY |  |  |  | 0
SUB-TOTAL OF SCHEDULES (Excluding VAT): |  |  |  |  | 0
VALUE ADDED TAX AMOUNT (15%): |  |  |  |  | 0
GRAND TOTAL CARRIED TO FORM OF TENDER (Including VAT): |  |  |  |  | 0
Indicate mark-up on spares percentage |  |  |  |  | %
PLEASE NOTE THAT:
All rates must include costs for preliminary and general, occupational health and safety aspects as well as accommodation of traffic.
The successful bidder must provide quotations for approval prior to the purchase of material.
The prices escalation shall be calculated as per CPI price adjustment at the anniversary of the contract.